| List of chemicals,solvents,glassware, plastic wares, instrument consumables and gases- requirement for next five years |  |  |
| --- | --- | --- |
|  | Chemicals | Quantity (estimated) |
| 1 | Magnesium Sulphate Anhydrous,>99.5% | 50.0 Kg |
| 2 | Primary Secondary Ammine (PSA) | 10.0 kg |
| 3 | C-18 | 10.0 kg |
| 4 | Sodium Sulphate Anhydrous | 100 kg |
| 5 | Certified Reference Pesticide Standards | 500 mg each (list to be attached) |
| 6 | Graphitized carbon black (GCB) |  |
| 7 | NaCl (AR grade) |  |
| 8 | Sodium bicarbonate (AR grade) |  |
| 9 | Potassium nitrate (AR grade) |  |
| 10 | Potassium permanganate (AR grade) |  |
| 11 | Potassium dichromate (AR grade) |  |
| 12 | Oxalic acid (AR grade) |  |
| 13 | HCl (LR) | 50 L |
| 14 | HNO3 (AR grade) | 100 L |
| 15 | H2SO4 (AR grade) | 100 L |
| 16 | Laboline | 100 L |
| 17 | Perchloric acid (AR grade) | 50 L |
| 18 | Phenophthalein indicator |  |
| 19 | Methyl Red indicator |  |
| 20 | Methyl Orange indicator |  |
| 21 | Bromocresol blue indicator |  |
| 22 | Starch indicator |  |
| 23 | Boric Acid (AR grade) |  |
| 24 | Glycerol (AR grade) |  |
|  | Solvents |  |
| 1 | Acetone HPLC grade | 50 liters |
| 2 | Acetonitrile HPLC grade | 100 liters |
| 3 | Methanol HPLC grade | 100 liters |
| 4 | Tetra Hydro Furan HPLC grade | 20 liters |
| 5 | N Hexane HPLC grade | 100 liters |
| 6 | Dichloromethane HPLC Grade | 100 liters |
| 7 | Formic Acid LCMS Grade | 5 liter |
| 8 | Ammonium formate for LCMS | 1 Kg |
| 9 | Ammonium citrate for LCMS | 1 Kg |
| 10 | Ammonium acetate for LCMS | 1 Kg |
| 11 | Acetic acid for HPLC, ≥99.8% | 10 liters |
| 12 | Sodium acetate for HPLC, ≥99.5% | 1 Kg |
| 13 | Acetone (LR grade) | 500 L |
| 14 | Methanol (LR grade) | 100 L |
| 15 | Iso-propanol (HPLC grade) | 100 L |
| 16 | Iso-propanol (LR grade) | 100 L |
| 17 | Iso-octanol (HPLC grade) | 10 L |
| 18 | Hand Sanitizer | 100 L |
| 19 | Carbon Tetrachloride (HPLC grade) | 50 L |
| 20 | Chloroform (HPLC grade) | 40 L |
| 21 | Acetic Acid (HPLC grade) | 10 L |
| 22 | Disposable Syringe (5 mL) | 400000 |
| 23 | Cotton roll | 100 |
| 24 |  |  |
| 29 |  |  |
| 30 | Whatmann filter paper |  |
| 31 | Nitrile Gloves (Small, medium and Large sizes) |  |
| 32 | N-95 Mask |  |
| 33 |  |  |
|  | Glassware |  |
| 1 | Volumetric Flask (10 ,50,100,250,500 ml, 1lit, 2 lit) |  |
|  | 10 mL | 500 Nos. |
|  | 50 mL | 400 Nos |
|  | 100 mL | 300 Nos |
|  | 250 mL | 300 Nos. |
|  | 500 mL | 100 Nos |
|  | 1000 mL | 50 Nos |
|  | 2000 mL | 50 Nos. |
| 2 | Round Bottom Flask (50, 100, 250, 500ml, 1 lit, 2 lit) |  |
|  | 50 mL | 500 Nos. |
|  | 100 mL | 400 Nos |
|  | 250 mL | 300 Nos |
|  | 500 mL | 300 Nos. |
|  | 1000 mL | 100 Nos |
|  | 2000 mL | 50 Nos |
| 3 | Separating funnel (, 100, 250, 500ml, 1 lit, 2lit) |  |
|  | 50 mL | 50 Nos. |
|  | 100 mL | 50 Nos. |
|  | 250 mL | 100 Nos. |
|  | 500 mL | 100 Nos. |
|  | 1000 mL | 100 Nos. |
|  | 2000 mL | 50 Nos. |
| 4 | Measuring cylinder ( 10, 50,100, 250, 500ml) |  |
|  | 10 mL | 500 Nos. |
|  | 50 mL | 400 Nos |
|  | 100 mL | 300 Nos |
|  | 250 mL | 300 Nos. |
|  | 500 mL | 100 Nos |
|  | 1000 mL | 50 Nos |
|  | 2000 mL | 50 Nos. |
| 5 | Beaker (10, 50, 250, 500, 1 lit, 2 lit) |  |
|  | 10 mL | 500 Nos. |
|  | 50 mL | 400 Nos |
|  | 100 mL | 300 Nos |
|  | 250 mL | 300 Nos. |
|  | 500 mL | 100 Nos |
|  | 1000 mL | 50 Nos |
|  | 2000 mL | 50 Nos. |
| 6 | Reagent Bottle (50, 100, 250,500, 1lt, 2 lit) |  |
|  | 50 mL | 500 Nos. |
|  | 100 mL | 400 Nos |
|  | 250 mL | 300 Nos |
|  | 500 mL | 300 Nos. |
|  | 1000 mL | 100 Nos |
|  | 2000 mL | 50 Nos |
| 7 | Gas chromatographic vials |  |
|  | 5 mL | 1000 |
|  | 2 mL | 200,000 |
| 8 | Funnel | Various diameters |
| 9 | Condenser/soxhlet | Various types |
| 10 | Burette |  |
|  | 25 mL | 10 |
|  | 50 mL | 10 |
| 11 | Glass Pipettes |  |
|  | 1 mL | 50 |
|  | 2 mL | 50 |
|  | 5 mL | 40 |
|  | 10 mL | 40 |
| 12 | Conical Flask |  |
|  | 100 mL | 100 |
|  | 250 mL | 50 |
| 13 | Stoppers | 500 |
|  | Plastic wares |  |
| 1 | Centrifuge tube |  |
|  | 2 mL | 200000 |
|  | 15mL | 100000 |
|  | 50 mL | 100000 |
| 2 | Pipette Tips |  |
|  | 10 µl | 200000 |
|  | 200 µl | 100000 |
|  | 1 mL | 200000 |
|  | 5 mL | 100000 |
|  | 10 mL | 1000 |
| 3 | Micro pipette |  |
|  | 10µl | 10 |
|  | 200 µl | 10 |
|  | 1ml | 20 |
|  | 5ml | 10 |
| 4 | Syringe filters |  |
|  | 0.45 micron | 100000 |
|  | 0.22 micron | 200000 |
| 5 | Centrifuge tube stand |  |
|  | 15 mL | 1000 |
|  | 2 mL | 1000 |
|  | 50 mL | 5000 |
| 6 | Cryobox for GC vails (81 nos, well) | 50000 |
| 7 | Micro Pipette Stand | 50 |
|  | Instrument Consumables |  |
| 1 | HPLC columns | 10 |
| 2 | GC columns | 20 |
| 3 | GC glass Linear | 100 |
| 4 | Septa, | 1000 |
| 5 | Ferrules | 1000 |
| 6 | GCMS Filaments | 50 |
| 7 | HPLC/ GC Syringes |  |
|  | 5 microlitre, | 500 |
|  | 10 microlitre | 500 |
| 8 | Gas Filters, Line Filters | 100 |
| 9 | GC vial insert | 100000 |
|  | Gases (Purity ≥99.995) |  |
|  | Helium | 200 |
|  | Nitrogen | 500 |
|  | Argon | 500 |
|  | Hydrogen | 200 |
|  | Zero Air | 200 |
|  | Methane | 50 |
|  | Iso-butane | 50 |